## OVERVIEW
Emergency Deployable Shelter
Welcome & Thank You!
First a Few Questions:
Where is this structure located? |  |  |  | STATUS: | PLEASE ENTER POINTS
What is the size of this structure?
Please rate the following Importance within these Categories:
Please Rate the Criteria Based on these Levels of Importance:
5-Very High Importance
4-High Importance
3- Moderate Importance
2-Low Importance
1-Very Low Importance
| PARAMETER CATEGORY | MAX POINTS | PARAMETERS | RATING | POINTS REMAINING
| COST | 5 | Initial Cost | 2 | THANK YOU
|  |  | Operation Efficiency (Cost) | 1
|  |  | Maintenance Cost | 2
| CONSTRUCTION | 5 | Contractor Familiarity | 2 | THANK YOU
|  |  | Ease of Assembly (Time/ Labor) | 2
Safety
|  |  | Weight/Size | 1
| TEMPERATURE | 1 | Temperature Heating | 1 | THANK YOU
|  |  | Temperature Cooling | 0
| FUNCTIONALITY | 4 | Particulate | 0 | THANK YOU
|  |  | Pressure | 0
|  |  | Noise | 0
|  |  | Aesthetics | 0
|  |  | Energy Footprint | 1
|  |  | Relative Humidity | 2
|  |  | Life Span | 1
Based on your selection the best HVAC unit will be:
VAV

## WORKSHEET
|  |  | INPUTS | Location: | Building Size: | Emergency Deployable Shelter |  |  |  |  | Selected System:
VAV
|  |  |  | Milwaukee, Wisconsin | Large
Base System Rating (Unweighted)
PARAMETER CATEGORY | Max Points | Points Remaining |  | OWNER | Criteria Weighting | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating | Base System Criteria
COST | 5 | 0 | Initial Cost | 2 | 2 | 2 | 5 | 3 | 1 | 1 | 1 | 1 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Operation Efficiency (Cost) | 1 | 1 | 3 | 3 | 5 | 4 | 5 | 1 | 4 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Maintenance Cost | 2 | 1 | 1 | 2 | 3 | 1 | 1 | 2 | 1 | (1- BAD to a 5 GOOD) (0- N/A)
CONSTRUCTION | 5 | 0 | Contractor Familiarity | 2 | 1 | 5 | 5 | 5 | 4 | 4 | 5 | 5 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Ease of Assembly (Time/ Labor) | 2 | 2 | 4 | 5 | 4 | 2 | 2 | 5 | 3 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Safety | 0 | 2 | 4 | 3 | 5 | 4 | 4 | 3 | 3 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Weight/Size | 1 | 1 | 3 | 4 | 5 | 1 | 1 | 4 | 3 | (1- BAD to a 5 GOOD) (0- N/A)
TEMPERATURE | 5 | 0 | Temperature Heating | 5 | 3 | 2 | 1 | 0 | 4 | 4 | 5 | 5 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Temperature Cooling | 0 | 3 | 4 | 3 | 1 | 5 | 5 | 0 | 0 | (1- BAD to a 5 GOOD) (0- N/A)
FUNCTIONALITY | 5 | 1 | Particulate | 0 | 1 | 2 | 1 | 0 | 5 | 5 | 1 | 1 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Pressure | 0 | 1 | 1 | 1 | 1 | 4 | 5 | 1 | 1 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Noise | 0 | 1 | 2 | 3 | 4 | 3 | 3 | 5 | 5 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Aesthetics | 0 | 1 | 1 | 2 | 3 | 3 | 3 | 2 | 3 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Energy Footprint | 1 | 1 | 1 | 3 | 5 | 2 | 2 | 2 | 2 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Relative Humidity | 2 | 2 | 3 | 1 | 0 | 4 | 4 | 1 | 1 | (1- BAD to a 5 GOOD) (0- N/A)
|  |  | Life Span | 1 | 2 | 3 | 3 | 5 | 4 | 4 | 1 | 4 | (1- BAD to a 5 GOOD) (0- N/A)
Select the Criteria Based on Level of Importance: |  |  | FINAL SCORE | 19 | 1 | 29.49 | 30.9 | 29.28 | 34.14 | 34.86 | 30.9 | 31.44
5-Very High Importance |  |  |  |  | BASE ASSUMPTIONS:
4-High Importance |  |  |  |  | Temporary (1-12 weeks)
3- Moderate Importance |  |  |  |  | 1 story
2-Low Importance |  |  |  |  | Used for residential uses or non medical occupationional uses (ie not a temporary morgue or medical facility with high HVAC loads)
1-Very Low Importance
CHOOSE(1. NY SMALL, 2. ALASKA SMALL,3. ARIZ SMALL, 4. FLORIDA SMALL, 5. WISCO SMALL, 6. NY MED, 7. ALASKA MED, 8. ARIZ MED, 9. FLORIDA MED, 10. WISCO MED, 11. NY LARGE, 12. ALASKA LARGE, 13. ARIZ LARGE, 14. FLORIDA LARGE, 15. WISCO LARGE)

## PARAMETERS
Locations | Sizes | Choose Function |  | Weight
New York, New York | Small | Location # | 5 | 0
Anchorage, Alaska | Medium | Size # | 3 | 1
Phoenix, Arizona | Large | Choose | 15 | 2
Miami, Florida |  |  |  | 3
Milwaukee, Wisconsin |  |  |  | 4
5

## DATA
[8 empty] | Anchorage | Subarctic Climate |  | Summer | 55 to 78 °F |  |  |  | Pheniox | Hot desert Climate | Summer | 100 °F (38 °C) |  |  |  |  | Miami | Tropical Monsoon Climate |  | Summer | 82.8°F |  |  |  | Milwaukee | humid continental climate |  | Summer | 71.8 °F (22.1 °C)
[11 empty] | Winter | 11 to 23 °F | [5 empty] | Winter | 39.4 °F (4.1 °C) |  | (lowest) | [5 empty] | Winter | 59°F | [6 empty] | Winter | 22.3 °F (−5.4 °C)
[9 empty] | Average snow fall: 75.5in./yr | [7 empty] | Annual Average Temperature |  | 72°F | [13 empty] | Second coldest city among 50 largest cities in the US
[9 empty] | Relative Humidity: 77% Morning, 64% Afternoon | [7 empty] | Rare Rainfall: Less than 8 in./yr | [7 empty] | Rainfall: a lot, 61.9in./yr | [9 empty] | Thunderstorms |  | rare tornado
[17 empty] | Relative Humidity: Varies a lot, from 9%(summer) to 74%(winter) | [7 empty] | Relative Humidity: Varies a lot, from 49%(comfortable) to 91%(very humid) | [7 empty] | 72days average RH |  | 80% Morning,63% Afternoon
New York | Small | [6 empty] | Anchorage | Small | [6 empty] | Pheniox | Small | [6 empty] | Miami | Small | [6 empty] | Milwaukee | Small
| Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating
Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3
Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 2 | 2
Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3
Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3
Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3
Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3
Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5
Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 2 | 1 | 1 | 3 | 3 | 3 | 3 | Temperature Heating | 2 | 1 | 1 | 3 | 3 | 2 | 2 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 5 | 5
Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0
Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate
Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure
Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise
Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics
Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2
Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 4 | 2 | 0 | 5 | 5 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1
Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4
Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score
New York | Medium | [6 empty] | Anchorage | Medium | [6 empty] | Pheniox | Medium | [6 empty] | Miami | Medium | [6 empty] | Milwaukee | Medium
| Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating
Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 2 | 3 | 4 | 1 | 1 | 2 | 2 | Initial Cost | 2 | 3 | 4 | 1 | 1 | 2 | 2 | Initial Cost | 2 | 3 | 4 | 1 | 1 | 2 | 2
Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 2 | 4 | 5 | 3 | 4 | 1 | 1 | Operation Efficiency (Cost) | 2 | 4 | 5 | 3 | 4 | 1 | 1 | Operation Efficiency (Cost) | 2 | 4 | 5 | 3 | 4 | 2 | 3
Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 2 | 3 | 4 | 1 | 1 | 3 | 2 | Maintenance Cost | 2 | 3 | 4 | 1 | 1 | 3 | 2 | Maintenance Cost | 2 | 3 | 4 | 1 | 1 | 3 | 2
Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 3 | 5 | 3 | 3 | 3 | 5 | 2 | Ease of Assembly | 3 | 5 | 3 | 3 | 3 | 5 | 2 | Ease of Assembly | 3 | 5 | 3 | 3 | 3 | 5 | 2
Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3
Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3
Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5
Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 3 | 3 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 2 | 2 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 5 | 5
Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0
Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate
Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure
Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise
Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics
Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2
Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 4 | 2 | 0 | 5 | 5 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1
Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4
Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score
New York | Large | [6 empty] | Anchorage | Large | [6 empty] | Pheniox | Large | [6 empty] | Miami | Large | [6 empty] | Milwaukee | Large
| Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating |  | Window Unit | Fan | Window | CAV | VAV | Space Heater | Convective Heating
Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 3 | 4 | 5 | 2 | 1 | 4 | 3 | Initial Cost | 1 | 2 | 3 | 1 | 1 | 1 | 1 | Initial Cost | 1 | 2 | 3 | 1 | 1 | 1 | 1 | Initial Cost | 1 | 2 | 3 | 1 | 1 | 1 | 1
Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 3 | 4 | 5 | 2 | 3 | 1 | 1 | Operation Efficiency (Cost) | 1 | 3 | 5 | 4 | 5 | 1 | 1 | Operation Efficiency (Cost) | 1 | 3 | 5 | 4 | 5 | 1 | 1 | Operation Efficiency (Cost) | 1 | 3 | 5 | 4 | 5 | 1 | 4
Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 3 | 4 | 5 | 2 | 2 | 4 | 3 | Maintenance Cost | 1 | 2 | 3 | 1 | 1 | 2 | 1 | Maintenance Cost | 1 | 2 | 3 | 1 | 1 | 2 | 1 | Maintenance Cost | 1 | 2 | 3 | 1 | 1 | 2 | 1
Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 5 | 4 | 2 | 2 | 5 | 3 | Ease of Assembly | 4 | 4 | 2 | 4 | 4 | 5 | 1 | Ease of Assembly | 4 | 4 | 2 | 4 | 4 | 5 | 1 | Ease of Assembly | 4 | 4 | 2 | 4 | 4 | 5 | 1
Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 3 | 5 | 4 | 4 | 3 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3 | Safety | 4 | 5 | 5 | 4 | 4 | 4 | 3
Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3 | Weight/Size | 3 | 4 | 5 | 1 | 1 | 4 | 3
Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5 | Contractor Familiarity | 5 | 5 | 5 | 4 | 4 | 5 | 5
Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 2 | 1 | 1 | 3 | 3 | 4 | 4 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 3 | 3 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 2 | 2 | Temperature Heating | 3 | 1 | 1 | 4 | 4 | 5 | 5
Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0 | Temperature Cooling | 4 | 3 | 2 | 5 | 5 | 0 | 0
Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate | [7 empty] | Particulate
Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure | [7 empty] | Pressure
Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise | [7 empty] | Noise
Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics | [7 empty] | Aesthetics
Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2 | Energy Footprint | 1 | 3 | 5 | 2 | 2 | 2 | 2
Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 4 | 2 | 0 | 5 | 5 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1 | Relative Humidity | 3 | 1 | 0 | 4 | 4 | 1 | 1
Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 2 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 1 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 1 | 4 | Life Span | 3 | 3 | 5 | 4 | 4 | 1 | 4
Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score | [7 empty] | Final Score